# Procedure

This procedure shall be followed to ensure Paneltec Pty Ltd meets its Community responsibilities towards the Environment by responding appropriately to any spill likely to create environmental damage.

In order to undertake effective spill control and clean-up, it is important to;

- Be prepared

- Control the spill

- Contain the spill

- Clean up the spill

- Ensure workers are properly trained

# Be Prepared

As a contingency, the following recommendations regarding spill control should be adopted.

- Ensure a spill kit or alternative material is available on site in the event a spill occurs.

- If the spilled product is a hazardous substance and has a Safety Data Sheet (SDS) associated with it, this SDS must be consulted and used to manage the spill.

- At the site induction all personnel should be made aware of the location of the spill kit or clean up materials.

- Advise the site supervisor if a spill occurs.

- If a spill is too large or you are unable to clean it up or it has resulted in a significant environmental impact, the EPA should be contacted (by management only) to advise on the clean-up.

- The client should also be notified.

- Workers must wear and be trained in appropriate Personal Protective Equipment before undertaking any clear up.

- Identify the material/substance & how best to respond before commencing work.

- Do NOT enter confined spaces or deep excavations to respond to a spill without responding to the above.

# Control the Spill

If a spill occurs, identify the source and assess whether it can be quickly controlled (stopped) in a safe manner.

# Contain the Spill

Stop the spill from spreading. This can be done using barriers, bunds and/or absorbent materials such as sand.

# Clean Up the Spill

Soak up the spill with absorbent material and ensure the surface is left clean. Material used to clean up the spill should be disposed of appropriately.