# Environmental Risks

Soil needs to be managed to ensure that;

- there are no off-site impacts;

- the spread of noxious weeds is prevented.

- contaminant concentrations are compatible with the intended use, i.e. low density residential, commercial, public open space etc;

- worker health & safety issues are addressed if contaminant concentrations may pose a health risk.

# Objective

Unplanned soil movement will be minimised at all sites and contaminated soils will be properly managed.

# Targets

- To re-use as much clean soil on-site as possible.

- To manage the off-site disposal of soil in accordance with EPA regulations and guidelines.

- To ensure soil on-site is suitable for its intended use.

- To prevent the spread of noxious weeds.

# Control Measures Managing Contamination

- Ensure that soil imported to site meets EPA Fill material Criteria.

- Require suppliers to demonstrate that soil is ‘clean’.

# Soil & Erosion Control

- Ensure erosion and sediment control measures are in place.

# Managing Risk to Worker Health

- Ensure soil contamination does not pose any health risks. It may be necessary for workers coming into contact with contaminated soil to wear personal protective clothing and equipment.

# Transportation of Soil

- The presence of noxious weeds in imported or exported soil should be considered.

- Ensure all loads are secured prior to transport.

# Entry & Exit Points

- Entry and exit points should be designed to prevent soil from being tracked onto public roads.

- Control measures include defining site access roads.

- To clean dirt from public roads a street sweeper can be used, if material is dry. This should not be the only means of controlling soil deposition on entry and exit point roadways.

- In some instances, a scraping or manual sweeping may be required.

# Maintenance

- A visual inspection.

- A review of files to ensure no negative correspondence from EPA or water authorities.

- Daily checks on drains to ensure sediment is not entering waterways.

- Installation and maintenance of sediment control devices to ensure they are functional along all waterways and at drains.

# Monitoring & Measurement

- Observation on-site.

- Daily inspection of entry and exit points, drains, pits and water ways.

- Review all available information e.g. completed Job Completion Checklist reports.