# Environmental Risk

Fuels and chemicals must be stored in accordance with relevant standards and regulations to minimise the risk of spillage to the environment.

# Objectives

Fuels and chemicals are properly maintained to avoid spillages.

# Targets

- No spillage of fuel or chemicals.

- Fuels and chemicals are stored on-site in accordance with current standards and regulations.

- Any spillage is cleaned up immediately.

# Control Measures Location of Storage Areas

- To minimise or eliminate storage on-site

- Locate storage facilities an adequate distance from stormwater drains and waterways.

- Provide bunding around storage containers.

- Locate and protect storage areas to minimise risk of damage or puncture from plant use.

- Where possible store each type of chemical/fuel in a separate area.

# Signage and Labelling

- Signage should be displayed in accordance with regulations and drums should be labelled with their contents.

- Safety Data sheets for all products must be stored on-site.

- Ensure appropriate decanting equipment is supplied to reduce spillage.

# Security

- Storage areas should be secured to prevent vandalism.

# Containment

- All drums should be stored in a bunded area.

- The bunds should prevent spilled product from escaping.

- Bunds should be inspected regularly to ensure there is no possibility of waste material overflowing.

- Any spillage should be cleaned up immediately.

# Maintenance

Maintain all control measures for the duration of fuel/chemical storage. Key requirements are security, housekeeping, separation of incompatible packing groups, and bund height. Liquid waste accumulated in bunds and waste drums/product should be disposed off-site as soon as practicable as prescribed waste. Recyclers can collect some oils.

# Monitoring

By review of non-conformances if a spill resulted from the above control measures not being undertaken. Inspect storage areas weekly.