# Worker Risks

# Workers might be adversely affected by prolonged use of plant that generates vibration through handles or control levers.

# Environmental Risks

Vibration is generated during some activities and has the potential to impact on human perception, buildings and structures and sensitive equipment e.g. operating theatres, photographic equipment.

The seriousness of the impact of the vibration is dependent on factors such as;

- Type of soil.

- Condition of buildings/structures.

- Construction activity taking place and the type of equipment being used.

- Equipment or facilities located in nearby buildings.

In all cases an inspection and report including photos should be made of any structure at risk prior to works commencing.

# Objectives

No damage to buildings/structures or perceived vibration to humans.

# Target

- No damage to buildings/structures.

- Zero complaints from residents, public, client or council.

# Control Measures

- Reduce the magnitude of the vibration.

- Use of gloves that minimise transmission of vibration to the operator’s hands.

- Use of the vibrating equipment for short durations only.

- Use smaller plant.

- Use of water with soil/aggregate to facilitate greater compaction without dust generation.

- Restrict the use of vibration in compaction equipment.

- Minimise the use of vibration in compaction equipment.

- Restrict the speed of heavy equipment.

- Use static rolling where possible.

- Use of alternative methods.

# Monitoring & Measurement

- Final inspection to ensure no structural damage.

- Review of enquiry and complaints register to determine whether the target has been achieved.