BEFORE ENTRING A CONFINED SPACE, CAN THIS JOB BE AVOIDED OR DONE IN A SAFER WAY?

| PERMIT INFORMATION & CONDITIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Confined Spaces are identified on the site Confined Space register, by signage at the Entry Point or as defined by AS 2865. - This permit shall be used in conjunction with any site-specific procedures, to minimize the risk during entry to confined spaces. - The conditions of issue and defined controls must be compiled with for the duration of the work. - Entry to a Confined Space shall only be performed by trained individuals in the presence of a trained standby person. - The locally Authorised Person must complete the permit in consultation with the persons performing the work. This permit is only valid for the date of issue and for the period stated. |  |  |  |  |  |  | - Pre-completion of this permit (ie. other than at the site of the work immediately prior to starting) is unacceptable and shall be deemed to render the permit void. - The person entering the confined space must post the permit at the work location and on completion of the work return it to the Authorised Person for closure. - The Standby Person must monitor the confined space entry throughout the work. - Once the work is completed the permit shall be returned to the Authorised Person and retained for 5 years. |  |  |  |  |  |  |  |  |  |  |
| INDIVIDUALS INVOLVED AND CONFINED SPACE DETAILS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Person trained to authorise this permit: Name: Signature: |  |  |  |  |  |  | Confined Space Location / Number and description of work. |  |  |  |  |  |  |  |  |  |  |
| Trained standby person: Name: Signature: |  |  |  |  |  |  | Confined Space training current for: Person to authorise Permit Persons performing Entry Standby Person |  |  |  |  |  |  |  |  |  |  |
| Trained Person(s) entering the Confined Space: Name: Signature: Name: Signature: |  |  |  |  |  |  | PERMIT VALIDITY This permit is only valid today / / From AM / PM To AM / PM |  |  |  |  |  |  |  |  |  |  |
| HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT High Low |  |  |  |  | IMPLEMENTED CONTROLS |  |  |  |  |  |  |  | Circle Relevant |
| Services to the Confined Space Given the potential for injury due to: - Electrocution - Engulfment (water, product, steam, CO2, caustic) - Entanglement - Crushing All energy sources connected to the space are to be identified and made safe via one of the nominated control options. As the control of all energy sources is mandatory, no risk assessment is necessary. |  |  |  |  |  |  |  |  | Isolation of Confined Spaces Energy sources are to be managed by: - Isolating / making safe according to the Lock, Tag, Clear, Try procedure, including a documented risk assessment identifying the required isolations. OR Working to a space specific procedure which details exact isolation requirements |  |  |  |  |  |  |  | YES N/A YES N/A |
| Confined Space Atmosphere - What is the potential of the space becoming oxygen deficient during the entry (eg. Due to physical activity, combustion sources)? - What is the potential of a hazardous substance accumulating in the atmosphere due to the activity, or from the last chemical stored in the space? - What is the possibility of the atmosphere being flammable or explosive (eg. Due to dust, excess oxygen)? |  |  |  |  |  |  |  |  | Purging, Ventilation & Gas Testing - Purging of Space - Ventilation of Space - Continuous ventilation of Confined Space required - Gas Testing required – record overleaf |  |  |  |  |  |  |  | YES N/A YES N/A YES N/A YES N/A |
| Confined Space Access / Egress - What is the potential of the entrance / exit to the Space restricting access (eg/ manhole)? - What is the potential of the entrance / exit of the Space being difficult to reach (eg. Ladders, steps)? - What is the potential of the entrance / exit being blocked from either side? Also consider how these factors would impact upon a rescue. - What is the potential for a serious fall whilst working on/within the space? |  |  |  |  |  |  |  |  | Purging, Ventilation & Gas Testing - Exterior entrance point to be kept clear of all equipment hoses etc. - Internal exit point to be kept clear of all equipment hoses etc. Fall Arrest Controls - Use of fall arrest equipment Work at Heights Permit (No………………………..) |  |  |  |  |  |  |  | YES N/A YES N/A YES N/A YES N/A |
| Worker Injury / Loss of Consciousness - What is the risk of a person collapsing and/or losing consciousness within the space? - What is the potential of the physical health and fitness of the person/s entering the confined space impacting upon their personal safety? - What is the likelihood that recovery of the person from the confined space could be difficult? |  |  |  |  |  |  |  |  | Emergency Recovery System - Recovery Winch - Support System (eg Tripod) - Harness, Spreader Bar, Lanyard - Other (defined below) First Aid Assistance - Trained First Aiders available |  |  |  |  |  |  |  | YES N/A YES N/A YES N/A YES N/A YES N/A |
| Work within the Confined Space - What is the potential of the activity increasing the noise levels in the Confined Space? - What is the potential for the activity increasing the temperature in the Confined Space? - What is the potential of somebody falling, tripping or slipping in the Confined Space? - What is the potential of Hot Work equipment changing the conditions in the Confined Space? - What is the possibility of the Confined Space’s dimensions, surface etc making manual handling difficult? - What is the potential of the PPE introducing additional hazards? - What is the potential of limited visibility? - What is the possibility that it will be difficult to maintain constant communication? |  |  |  |  |  |  |  |  | General Precautions - Warning notices / Barricades - Manhole clear for easy entry / exit - Ladders secured in and outside space - Use two way radios - Use of man down alarms - Space cleaned prior to entry - Hot Work Permit (No……………………………….) Personal Protective Equipment - Respiratory Protection - Breathing apparatus - Eye Protection - Hearing Protection - Hand Protection - Protective Clothing Other (define Below) |  |  |  |  |  |  |  | YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A YES N/A |
| List All Additional Control Measures Below not mentioned above, being used for this entry: _______________________________________________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency Controls: In the event of an Emergency Rescue (Define proposed action plan and who will be advised) _______________________________________________________________________________________________________________________________ _______________________________________________________________________________________________________________________________ _______________________________________________________________________________________________________________________________ Rescue Rope Davit Arm Winch Crane Spreader bar Tripod SCBA Basket Stretcher Harness |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Confined Space Atmospheric Testing Note: Put a line through any gases deemed not applicable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gas Testing Unit Used | Gases Test For: |  | Time |  |  |  |  |  |  |  | Result |  |  |  |  |  |  |
|  | Flammable Gas |  |  |  |  |  |  |  |  |  |  |  |  |  | < 5% LEL |  |  |
| Unit Last Calibrated / / | Oxygen (O2) |  |  |  |  |  |  |  |  |  |  |  |  |  | min 19.5%, max 23.5% |  |  |
|  | Carbon Dioxide CO2) |  |  |  |  |  |  |  |  |  |  |  |  |  | STEL 3%, TWA 0.5% |  |  |
|  | Carbon Monoxide |  |  |  |  |  |  |  |  |  |  |  |  |  | STEL 400ppm, TWA 35ppm |  |  |
| Is continuous monitoring required? YES NO | Hydrogen Sulphide (H2S) |  |  |  |  |  |  |  |  |  |  |  |  |  | STEL 15ppm, TWA 10ppm |  |  |
|  | Ammonia (NH3) |  |  |  |  |  |  |  |  |  |  |  |  |  | STEL 35ppm, TWA 25ppm |  |  |
|  | Other ….. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Confined Space Entry Log Note: Entry can only occur with the “Requested Controls” in place AND a safe atmosphere confirmed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name (print) |  | Signature |  |  |  | Time In |  |  |  | Time Out |  | Time In |  | Time Out |  | Time In | Time Out |
| Permit Closure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Has the work been completed & the confined space vacated? YES NO - Have the confined space and surrounding work areas been made safe? YES NO No further entry is allowed without a new permit being issued |  |  |  |  |  |  |  |  |  |  | Trained person completing this Confined Space Entry: Name: Signature: |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | Trained person authorising this Confined Space Entry: Name: Signature: |  |  |  |  |  |  |