| # Item | Element | Compliance | Non Compliance/NCR |
| --- | --- | --- | --- |
| Fire Extinguishers | - Ensure fire extinguishers have been checked and tagged within the last 6 months. - The bottom of the fire extinguisher should be at least .1m off the ground and the top of the fire extinguisher should be no more than 1.2m off the ground. - Ensure fire types are signed above fire extinguishers. - Ensure system is in place for replacement of out of service fire extinguishers. |  |  |
| # Electricity | - Ensure all portable electrical equipment, leads etc are checked and tagged at least every 3 months by a qualified person. - Ensure no double adaptors are in use. - No broken plugs, sockets or switches. - No frayed/damaged leads. - Portable power tools in good condition. - Emergency shut-down procedures in place. - RCD’s used. |  |  |
| First Aid Kit | - Ensure each site has a first aid kit. - Ensure first aid kit has: - Contents regularly checked to see if adequate for the workplace. - Contents not past expiry date - Cabinet clearly labelled - Cabinet easily accessible and unlocked. - Workers aware of the location for first aid treatment. - Emergency phone numbers displayed |  |  |
| Safety Signage | - Ensure the following is adequately signed where applicable: - Designated smoking areas. - Equipment found to be noise excessive - First Aid Kit - Pedestrian/plant demarcation lines |  |  |
| Personal Protective Equipment | - Ensure adequate and clean supply of the following PPE; - Heat resistant gloves - Chemical resistant gloves - Safety goggles / glasses - Ear Muffs/plugs - Welding goggles/shields if applicable - Sunscreen |  |  |
| Housekeeping | - Ensure workshop and surrounds is obstacle free. Ensure workshop is clean and tidy. - Oily rags and combustible refuse in covered metal containers - Workbenches clear of rubbish - Tools put away when not in use - Bins located at suitable points |  |  |
| Item | Element | Compliance | Non Compliance/NCR |
| Gas Cylinders | - Ensure all gas bottles are restrained. |  |  |
| Storage | - Materials stored in racks and bins wherever possible. - Design to minimise manual handling problems. - Commonly used and heavy items stored between mid-thigh and shoulder height. - Floors around racks, shelves, pallets, etc. clear of rubbish. - Racks, shelves, pallets, etc. kept in good condition. |  |  |
| Office Environment | - Screen based equipment positioned to reduce glare from windows and lighting. - Areas around photocopiers are well ventilated to control fumes. - Air conditioning systems maintained and cleaned regularly. - Stable non-slip floor coverings. - Noise at or below acceptable levels. - Sufficient space for all operations. - Appropriate adjustable chairs, furniture and equipment is available. |  |  |
| Training | - Training documented and records maintained. - Workplace-specific induction training provided for all workers, managers, supervisors and visitors. - Induction training includes a review of workplace health and safety matters. - Workers trained in emergency procedures. - Relevant workers trained in the handling of hazardous substances. - Workers trained in safe manual handling techniques. - Workers trained in the correct use of PPE. |  |  |

Other safety issues not included on checklist:

Incomplete items from previous inspections:

Non conformance Reports ?	Yes /	No

NCR numbers this Audit:

Comments:

| Checklist completed by: |  | Date: |  |
| --- | --- | --- | --- |